## Sheet1
SP Panel Events
Zone OK
Zone Opened
Silent Alarm
Buzzer Alarm
Steady Alarm
Pulsed Alarm
Strobe Alarm
Alarm Stopped
Squawk On
Squawk Off
Ground Start
Area Disarm
Area Arm
Entry Delay Started
Exit Delay started
Pre-Alarm Delay
Report Confirmation
Any Partition Status
Bell Off
Bell On
Bell Squawk Arm
Bell Squawk Disarm
Any Bell Status
Trouble
[enter], [clear], or [?] key was pressed
Stay Arming
Sleep Arming
Force Arming
Stay To Full Arm
PC Fail To Communicate
Utility Key 1 or keys [1] & [2] pressed
Utility Key 2 or keys [2] & [3] pressed
Utility Key 3 or keys [4] & [5] pressed
Utility Key 4 or keys [5] & [6] pressed
Utility Key 5 or keys [7] & [8] pressed
Utility Key 6 or keys [8] & [9] pressed
Tamper Generated Alarm
Supervision Loss Generated Alarm
Full arm when armed in sleep mode
Firmware Upgrade
No SIM card on GSM module
StayD Mode Activated
StayD Mode Deactivated
IP Registration Status Changed
GPRS Registration Status Change
Arming with Trouble
RF Supervision Alert
RF Supervision Restore
Arming with Remote in Low Battery
Any Non Reportable Event
Button B pressed on remote
Button C pressed on remote
Button D pressed on remote
Button E pressed on remote
Cold Start Wireless Zone
Cold Start Wireless Module
Bypass Programming
User Code Activated Output
Wireless Smoke Maintenance Signal
Transmission delay on zone in alarm
Zone Signal Strength Weak 1
Zone Signal Strength Weak 2
Zone Signal Strength Weak 3
Zone Signal Strength Weak 4
Button pressed on remote(button option 5)
Button pressed on remote(button option 6)
Fire delay engaged
Non Valid Source ID
Software Direct
Software through IP Module
Software through GSM Module
Software through Modem
End User Direct
End User IP
End User GSM
End User Modem
IP100 Direct
VDMP3 Direct
Voice through GSM Module
Remote Access
SMS through GSM Module
Any Software Access
Bus Module Added
Bus Module Removed
RF Module Communication Failure
RF Module Communication Restored
StayD Pass Acknowledged
Arming with User
Auto-Arming
Late to Close
No Movement Arming
Partial Arming
Quick Arming
Software Arming
Keyswitch Arming
Any special arming event
Disarm with User Code #
Disarm after Alarm with User code #
Cancel Alarm with User Code #
Auto Arm Canceled
PC Disarm
Disarmed After alarm with software
Cancel Alarm with software
Paramedical Alarm Cancelled
Disarm with Keyswitch
Disarm after Alarm with Keyswitch
Cancel Alarm with Keyswitch
Any special disarming event
Zone Bypassed on arming
Zone in Alarm
Fire Alarm
Zone Restore Alarm
Fire Alarm Restore
Panic Emergency
Panic Medical
Panic Fire
Recent Closing
Global Shutdown
Duress Alarm
Keypad lockout
IP Web page lock
GSM SMS lock
Voice lock
Any Special Alarm Event
Zone # shutdown
Zone Tampered
Zone Tamper Restored
Trouble: Telephone Line Monitoring
Trouble: AC Failure
Trouble: Battery Failure
Trouble: Auxiliary
Trouble: Bell Current Limit
Trouble: Bell Absent
Trouble: Clock
Trouble: Global Fire Loop
Fail to communicate on tel #
Fail to communicate to pager report
Fail to communicate to voice report
RF Jamming
GSM RF Jamming
GSM No Service
GSM Supervision Loss
Fail to communicate GPRS Receiver 1
Fail to communicate GPRS Receiver 2
IP Module No Service
IP Module Supervision Loss
Fail to communicate IP Receiver 1
Fail to communicate IP Receiver 2
GSM Module Tamper
Any New Trouble Event
Trouble restore: Telephone Line Monitoring
Trouble restore: AC Failure
Trouble restore: Battery Failure
Trouble restore: Auxiliary
Trouble restore: Bell Limit
Trouble restore: Bell Absent
Trouble restore: Clock
Trouble restore: Global Fire Loop
Trouble restore: Fail to communicate on tel #
Trouble restore: Fail to communicate to pager report
Trouble restore: Fail to communicate to voice report
Trouble restore: RF Jamming
Trouble restore: GSM RF Jamming
Trouble restore: GSM No Service
Trouble restore: GSM Supervision Loss
Trouble restore: Fail to communicate GPRS Receiver
Trouble restore: IP Module No Service
Trouble restore: IP Module Supervision Loss
Trouble restore: Fail to communicate IP Receiver 1
Trouble restore: Fail to communicate IP Receiver 2
Trouble restore: GSM Module Tamper Restore
Trouble restore: Any New Trouble Event
Bus Module Communication Fault
Bus Module Tamper Trouble
Bus Module Power Fail
Bus Module Battery Fail
Bus Module Any Trouble
Bus Module Communication Fault Restore
Bus Module Tamper Trouble Restore
Bus Module Power Fail Restore
Bus Module Battery Fail Restore
Bus Module Any Trouble Restore
Power Up
Test Report
Babyware Access
Babyware Access Finished
Installer on site
Installer out
Maintenance in Programming Mode
Maintenance Exited Programming Mode
Closing Delinquency Delay Elapsed
Any Special Event
Trouble: Low Battery on wireless zone
Trouble restore: Low Battery on wireless zone
Zone supervision trouble
Zone supervision trouble restored
Wireless Module Supervision Trouble
Wireless Module Supervision Restore
Wireless Module Tamper Trouble
Wireless Module Tamper Restore
Non Medical Alarm
Zone Forced
Zone Included
Remote Low Battery
Remote Low Battery Restore
Follow Arm LED Status